## Pipe Schedule
Category | System Type | Pipe Type | Diameter (mm) | Length (m) | Level | Material | Insulation | Mark
Pipes | Domestic Hot Water | Standard | 25 | 12.5 | Level 1 | Copper | Yes | P-101
Pipes | Domestic Hot Water | Standard | 25 | 8.3 | Level 1 | Copper | Yes | P-102
Pipes | Domestic Cold Water | Standard | 32 | 15 | Level 1 | Copper | No | P-103
Pipes | Domestic Cold Water | Standard | 32 | 6.7 | Level 2 | Copper | No | P-104
Pipes | Sanitary | Cast Iron | 100 | 22.4 | Level 1 | Cast Iron | No | P-105
Pipes | Sanitary | Cast Iron | 75 | 11.2 | Level 1 | Cast Iron | No | P-106
Pipes | Sanitary | Cast Iron | 100 | 18.6 | Level 2 | Cast Iron | No | P-107
Pipes | Fire Suppression | Schedule 40 | 50 | 30.1 | Level 1 | Steel | No | P-108
Pipes | Fire Suppression | Schedule 40 | 50 | 25.8 | Level 2 | Steel | No | P-109
Pipes | Fire Suppression | Schedule 40 | 65 | 14.2 | Level 3 | Steel | No | P-110
Pipes | Heating Supply | Standard | 40 | 19.5 | Level 2 | Steel | Yes | P-111
Pipes | Heating Return | Standard | 40 | 19.5 | Level 2 | Steel | Yes | P-112
Pipes | Chilled Water Supply | Standard | 50 | 28.3 | Level 3 | Steel | Yes | P-113
Pipes | Chilled Water Return | Standard | 50 | 28.3 | Level 3 | Steel | Yes | P-114
Pipes | Domestic Hot Water | Standard | 20 | 5.5 | Level 3 | Copper | Yes | P-115